# Low Slope Roof Tear Off JHA

Worked instructional example

# Work and worksite

A roofing crew will remove released membrane and insulation from a low-slope commercial roof in controlled sections and lower contained debris through the planned waste route. This fictional learning example records planned controls; it supplies no actual inspections or work authorization.

The roof investigation releases material hazards, deck condition and permitted work and storage loads.

Access, edge and opening protection and the area below are established before removal.

This excludes hazardous-material abatement, structural deck demolition and steep-slope shingle removal.

## Questions before work

What confirms existing-material hazards and deck support?

How will new openings and weak deck areas be protected immediately?

Where may debris accumulate and how will it be lowered safely?

# Task Hazard Control

## 1 Release roof condition and materials

Hazard: Unknown asbestos, fragile deck or inadequate support can cause illness or collapse.

Control: Supervisor confirms material investigation, roof condition and permitted loads before disturbing the system. Hold uncertain areas for the required investigation.

Verification: Compare released work zones with the actual roof and material records.

Reasoning: Removal exposes conditions hidden beneath the covering.

## 2 Establish access and protection

Hazard: Workers can fall at edges, skylights, openings or access points.

Control: Provide the planned fall and opening protection, safe access and rescue arrangements. Separate the receiving area below and coordinate occupied-building interfaces.

Verification: Supervisor checks the work route and protected boundary before entry.

Reasoning: A skylight is not assumed to be a protective cover.

## 3 Stage tools and waste containment

Hazard: Poor staging can overload the roof or create trips and dropped objects.

Control: Use permitted load locations, inspect tools and set contained waste collection near the work without blocking exits or drainage.

Verification: Lead checks load distribution and waste routes against the plan.

Reasoning: Waste loading grows as removal progresses.

# Complete the work and hand over

## 4 Remove in controlled sections

Hazard: Cutting tools, protrusions and newly exposed weak areas can injure workers.

Control: Follow the released section sequence from protected positions. Stop at unknown deck defects, services or materials and protect new hazards before moving on.

Verification: Lead monitors the exposed deck and records deviations for disposition.

Reasoning: The existing roof investigation must be checked against discoveries.

## 5 Lower debris by the planned route

Hazard: Falling waste, uncontrolled chutes or overloaded containers can strike people.

Control: Contain waste and use the specified lowering system and controlled receiving area. Never throw debris over an edge or improvise a chute.

Verification: Waste lead checks the lowering setup and receiving separation before each transfer.

Reasoning: The waste route is part of the roof task.

## 6 Protect exposed areas and hand over

Hazard: Open roof sections, loose debris or weather can expose occupants and the next crew.

Control: Secure material, maintain fall and opening protection and provide the specified temporary weather protection. Communicate deck defects, unfinished sections and load restrictions.

Verification: Supervisor checks closeout and receiving-crew understanding.

Reasoning: End-of-shift protection must address both workers and the building below.

## Pause and reassess

Unknown material, deck damage or concealed service appears.

Loads, wind, rain or footing change.

Fall protection or the waste receiving boundary fails.

# Improve the controls

Needs improvement: Be careful around the equipment.

More useful: Use permitted load locations, inspect tools and set contained waste collection near the work without blocking exits or drainage.

Needs improvement: Check the area before starting.

More useful: Supervisor confirms material investigation, roof condition and permitted loads before disturbing the system. Hold uncertain areas for the required investigation.

## Decisions that change the analysis

Does the masonry demolition example cover this removal?

No. It is a ground-floor partition task. Roof tear-off adds fall protection, evolving deck condition, roof load limits, material investigation and debris lowering.

What must be recorded before this example is used on a job?

Replace the scenario with the actual work, identify additional hazards with the crew, and record the applicable instructions, responsible people, inspection findings, unresolved actions and required authorization. A planned verification is not an inspection result.

## Training needs

Released removal method, roof loading and unexpected-material recognition.

Fall protection and the actual waste-lowering system.

Confirm applicable qualifications and actual training evidence for the people assigned. Related toolbox talks support discussion; they do not establish competence.

## References and adaptation

OSHA Protecting Roofing Workers
https://www.osha.gov/sites/default/files/publications/OSHA3755.pdf

OSHA 1926.501 Duty to have fall protection
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.501

OSHA 1926.502 Fall protection systems criteria
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.502

OSHA 1926.503 Fall protection training
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.503

OSHA 1926.300 Hand and power tools
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.300

References reviewed October 9, 2026. Use actual equipment and product instructions, project design and site requirements. This instructional example supplies no actual inspection results, signatures or work approval.