# Roof Drain Retrofit Installation JHA

Worked instructional example

# Work and worksite

A roofing crew will install a specified retrofit roof drain into an accepted existing outlet on a released low-slope building roof. The work includes protected access, limited drain preparation, compatible retrofit connection and membrane interface, inspection and a controlled drainage handover. This fictional learning example describes planned controls; it records no actual inspection or work authorization.

The actual outlet, retrofit assembly and membrane connection have been selected and accepted for this roof.

Opening/edge protection, weather monitoring and the building’s temporary drainage arrangement remain in force throughout the task.

Opening enlargement, drain sizing, confined-space/pipe entry, concealed piping repairs and a redesign of the drainage system are excluded.

## Questions before work

What proves this retrofit fits the accepted existing outlet and roof system?

How will water be managed while the drain is temporarily unavailable?

Who controls the inspection or test and receives unresolved drainage issues?

# Task Hazard Control

## 1 Release roof and drainage access

Hazard: An unprotected outlet, edge or wet walking surface can expose workers before the drain is opened.

Control: Confirm released roof access, opening/edge protection and the actual temporary drainage and weather plan. Coordinate affected building areas and stop conditions before isolating the drain; maintain protection for every work position.

Verification: Roofing lead records protection, weather and temporary drainage findings.

Reasoning: A short interruption can still expose the building to water and workers to an opening.

## 2 Verify outlet and assembly compatibility

Hazard: The wrong insert or damaged outlet can conceal an unsuitable connection.

Control: Identify the specified assembly and accepted outlet condition, dimensions and roof-system interface using the actual detail. Review the required installation and test instructions; hold work for unexpected corrosion, obstruction or fit differences instead of changing the opening or substituting a part.

Verification: Lead confirms actual fit/condition findings and unresolved issues before preparation.

Reasoning: An insert that enters an outlet has not thereby passed connection acceptance.

## 3 Prepare the controlled outlet area

Hazard: Debris, sharp materials and cleaning products can expose workers or enter the drainage system.

Control: Use the specified surface preparation and suitable tools from protected positions. Control debris and temporary covering without blocking the agreed drainage arrangement; follow chemical controls and stop for unknown materials or a need to enter or repair concealed piping.

Verification: Installer checks the prepared interface and containment of removed material.

Reasoning: Preparation must stay within the accepted roof-side retrofit boundary.

# Complete the work and hand over

## 4 Install the retrofit connection

Hazard: Pinch points, dropped parts or unsuitable tightening can leave a damaged or incomplete assembly.

Control: Maintain opening protection while positioning the actual retrofit and completing its designated connection. Use its supplied/approved components and installation criteria; do not invent a tightening value, sealing method or concealed pipe repair to overcome a poor fit.

Verification: Assigned lead records connection findings against the actual assembly instructions.

Reasoning: A generic drain procedure cannot supply model-specific sealing or tightening criteria.

## 5 Complete roof interface and inspect

Hazard: Incompatible flashing or an uncontrolled water test can damage the roof or affected building areas.

Control: Complete the specified membrane/flashing and clamping interface. Inspect and conduct only the accepted test under its controlled water, monitoring and stop arrangements; record results and route leakage or unresolved flow concerns to the responsible trade.

Verification: Roofing and drainage leads verify the required connection, membrane and test findings.

Reasoning: A visual seal cannot stand in for the project’s required inspection or test.

## 6 Restore service and hand over

Hazard: A retained temporary cover, blockage or uncommunicated defect can affect the next rain event.

Control: Remove temporary restrictions only through the agreed release, clear controlled debris and confirm intended roof-side service status. Transfer actual test results, incomplete work and any concealed-piping concerns to the receiving lead; maintain restrictions where acceptance is unresolved.

Verification: Receiving lead acknowledges drainage status, weather readiness and open actions.

Reasoning: The crew’s departure must not become an implied drainage-system acceptance.

## Pause and reassess

Assembly/outlet mismatch, damage or a need for concealed piping work.

Temporary drainage, opening protection or weather controls cannot be maintained.

Unexpected material, leakage, failed acceptance test or an unapproved connection change.

# Improve the controls

Needs improvement: Work carefully and wear PPE.

More useful: Use the specified surface preparation and suitable tools from protected positions. Control debris and temporary covering without blocking the agreed drainage arrangement; follow chemical controls and stop for unknown materials or a need to enter or repair concealed piping.

Needs improvement: Check that everything is ready.

More useful: Confirm released roof access, opening/edge protection and the actual temporary drainage and weather plan. Coordinate affected building areas and stop conditions before isolating the drain; maintain protection for every work position.

## Decisions that change the analysis

Does this example authorize replacing any roof drain or sizing the outlet?

No. It covers one specified compatible retrofit in an accepted existing outlet. Drain sizing, system redesign, opening changes and concealed piping require their own qualified decisions and work planning.

What must the crew record for actual use?

Identify the actual equipment and work boundaries, responsible people, applicable criteria, inspection findings and open actions. Resolve changes with affected crews and obtain required project authorization before work.

## Training needs

Actual retrofit assembly, membrane-interface and controlled inspection/test instruction for the selected detail.

Roof opening/fall protection, temporary drainage and weather coordination, suitable tools and product hazard communication.

Confirm applicable qualifications and actual training evidence for the people assigned. Related toolbox talks support discussion; they do not establish competence.

## References and adaptation

Zurn Retrofit roof drain technical resources
https://www.zurn.com/products/drainage-interceptors/roof-drains/retrofit/rd2150

OSHA 1926.501 Duty to have fall protection
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.501

OSHA 1926.300 Hand and power tools
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.300

OSHA 1910.1200 Hazard communication
https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1200

References reviewed October 9, 2026. Use actual equipment and product instructions, project design and site requirements. This instructional example supplies no actual inspection results, signatures or work approval.