# Self Adhered Modified Bitumen Roofing Installation JHA

Worked instructional example

# Work and worksite

A roofing crew installs a specified self-adhered modified-bitumen membrane layer over an accepted low-slope roof substrate. Roof protection and the underlying system are released; the selected product instructions determine weather limits, primer requirements, release-film handling and lap treatment. This fictional learning example describes planned controls; it records no actual inspection or work authorization.

Partial modified-bitumen coverage: the accepted self-adhered layer only; torch application, hot asphalt, deck repair and complete roof flashing remain separate.

The project identifies the exact compatible membrane system and current application instructions, including any prescribed lap accessories or heat treatment.

Approved loading areas, protected access and edges, dry safe work positions and product-specific chemical controls are in place.

## Questions before work

Who accepts the substrate and the actual product conditions before adhesive exposure begins?

How will the crew move rolls and collect release film without losing protection or footing?

What verifies laps and temporary end-of-shift weather protection for this selected layer?

# Task Hazard Control

## 1 Release the selected membrane and substrate

Hazard: An incompatible or damp substrate can defeat adhesion; hidden roof defects can expose the crew to falls.

Control: Match membrane labels and layer details to the approved system. Verify substrate condition, roof protection, product weather criteria and any primer readiness; resolve deficiencies before unrolling.

Verification: Lead records product instructions, substrate acceptance and applicable conditions at the start of work.

Reasoning: A self-adhered label does not establish compatibility with every existing roof surface.

## 2 Stage rolls and prepare manageable lengths

Hazard: Concentrated loads and heavy rolls can overload local support or injure handlers near an edge.

Control: Use accepted roof storage locations and the planned handling aid. Keep loads restrained, routes clear and roll preparation within the protected area; choose lengths the crew can control under current conditions.

Verification: Crew checks staging loads and the work path before bringing each roll to its start position.

Reasoning: The method must account for the roll before its weight and adhesive are spread across the roof.

## 3 Position the sheet before exposing adhesive

Hazard: An uncontrolled roll or exposed adhesive can trap hands and make correction difficult.

Control: Align the sheet using the selected system layout and instructed sequence. Confirm the lap and interface arrangement while the sheet remains supported and the release film is still controlled.

Verification: Installer verifies alignment and the planned film-removal direction before bonding starts.

Reasoning: Preventing a misplaced bond is easier and safer than forcing an adhered sheet back into position.

# Complete the work and hand over

## 4 Remove film and apply the membrane

Hazard: Loose film creates slip and windblown-debris hazards; awkward pulling can move the crew toward an edge.

Control: Expose adhesive progressively using the actual application method. Maintain protected footing, keep hands away from rolling contact and collect film immediately; apply the prescribed pressure without stretching or forcing the sheet.

Verification: Lead monitors film control, stable positions and the required contact method through the installed length.

Reasoning: Release waste can become a moving trip hazard while attention is directed toward the adhesive bond.

## 5 Complete the prescribed laps and details

Hazard: An assumed lap bond can leak; accessories or required heat treatment can introduce chemical or burn hazards.

Control: Complete the actual system lap treatment and checks with trained people and the required product controls. If instructions require heat, use its accepted equipment and fire precautions; never substitute a torch process by assumption.

Verification: Installer records completed lap checks and any corrective action before concealing the interface.

Reasoning: Self-adhered sheet application does not guarantee that every joint uses the same treatment.

## 6 Inspect and protect the unfinished system

Hazard: Incomplete terminations or scattered film can expose the next crew and allow wind or weather damage.

Control: Inspect the accepted layer, collect waste and identify unfinished details. Apply the approved temporary weather and wind protection, secure remaining rolls and hand over the exact completion status.

Verification: Supervisor records installed areas, open interfaces and the conditions required before the next layer or work shift.

Reasoning: A bonded field sheet can still leave vulnerable edges and interfaces at the end of the day.

## Pause and reassess

Pause for unsuitable substrate, missing product criteria, loss of roof protection or unsafe weather.

Stop for unmanageable film, sheet misalignment, poor contact or an unplanned lap treatment.

Changes to products, layer build-up or heat requirements require renewed product and work-method review.

# Improve the controls

Needs improvement: Work carefully and wear PPE.

More useful: Align the sheet using the selected system layout and instructed sequence. Confirm the lap and interface arrangement while the sheet remains supported and the release film is still controlled.

Needs improvement: Check that everything is ready.

More useful: Match membrane labels and layer details to the approved system. Verify substrate condition, roof protection, product weather criteria and any primer readiness; resolve deficiencies before unrolling.

## Decisions that change the analysis

How does this differ from fully adhered EPDM or torch-applied roofing?

This operation manages a factory-applied adhesive exposed through release-film removal. EPDM uses its specified bonding-adhesive workflow, and the torch example controls open-flame membrane bonding. Each still needs its own actual system instructions.

What must the crew record for actual use?

Identify the actual equipment and work boundaries, responsible people, applicable criteria, inspection findings and open actions. Resolve changes with affected crews and obtain required project authorization before work.

## Training needs

Train installers on the selected self-adhered system, substrate acceptance, film sequence, contact method and actual lap checks.

Verify roof-access, handling and product-specific chemical or heat-work competencies for the roles assigned.

Confirm applicable qualifications and actual training evidence for the people assigned. Related toolbox talks support discussion; they do not establish competence.

## References and adaptation

CertainTeed Flintlastic SA self-adhered roof-system resources
https://www.certainteed.com/flintlastic-sa

OSHA 1926.501 Duty to have fall protection
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.501

OSHA 1926.21 Safety training and education
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.21

OSHA 1910.1200 Hazard communication
https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1200

OSHA 1926.300 Hand and power tools
https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.300

References reviewed October 9, 2026. Use actual equipment and product instructions, project design and site requirements. This original draft supplies no fabricated inspection, signature or approval.