TOOLBOX TALK 03 • PRACTICAL SAFETY

# Rigging: Before the Load Moves

Todd Jerome Jenkins | v1.0 | October 6, 2026 | Construction material handling and crane lifts

# Why this matters

A sling that looks usable may still be wrong for the load or the way it is connected. Before movement, the crew needs a known load, suitable rigging and a landing plan that keeps hands and bodies clear.

Objective: Recognize a rigging uncertainty and identify the evidence needed before lifting.

# Key hazards or failure points

Unknown load weight or balance; unreadable identification; damaged gear; an unsuitable hitch or connection; sharp edges; and hands caught during take-up or landing.

# Practical controls

Have the designated competent or qualified people, as the task requires, confirm the load, center of gravity, lifting points, rigging arrangement and equipment capacity. Do not guess from appearance.

Select rigging for the actual configuration using its identification, manufacturer instructions and applicable requirements. Capacity can change with the hitch and sling angle. Remove defective or unidentified gear from use.

Plan the travel and landing area, supports, hand clearance and communication before take-up. Keep people clear of suspended loads. Use only the approved method for guiding and positioning the load.

# Verify It in the Field

Match each sling and attachment to the planned configuration and legible capacity information. Confirm that the load information and any required calculation or technical review apply to this lift.

Have the appropriate person complete the required inspection. Look for type-specific defects using the applicable removal criteria; do not invent a wear percentage or “close enough” limit.

Before tension is applied, confirm the connections, edge protection, load security and landing supports against the plan. Identify where every person will stand and how the operator will receive a stop signal.

# Stop and reassess

Hold the lift for missing identification, unknown weight, damage, a changed hitch, unexpected movement or an unclear signal. Stay clear; let the operator make the load safe under the lift procedure. Correct the issue, have the appropriate person recheck, and rebrief before the authorized restart.

# Ask the crew

What evidence supports the load weight and rigging capacity in this configuration?

Where could a hand or body be trapped during take-up or landing?

What uncertainty means we hold the lift, and who resolves it?

Known load. Verified rigging. Clear people. Planned landing.

Next step: Record today’s changes and checks on the free JSA Planning and Field-Verification Sheet. Supervisor check and attendance are separate.

Free JSA planning sheet

References: OSHA 1926.251, 1926.1425 and 1926.1419. Expanded explanation and references accompany the web version.