TOOLBOX TALK 61 • SUPERVISOR COMPONENT

# Supervisor Field Check

Energy Isolation: Verify Before Servicing | v1.0 | October 7, 2026

Task / location: __________________________________________________________

Date / time / shift: __________________  Leader: ______________________________

JHA/JSA reference / revision: _______________________________________________

Change or conditions confirmed unchanged: ___________________________________

# Short leader check

Mark V = verified, H = hold/not verified, or N/A with a reason. Support each result with evidence below or a referenced task record; a blank is not a pass.

| Check | V / H / N/A |
| --- | --- |
| Equipment and task match the applicable procedure. |  |
| Authorized roles and electrical qualifications confirmed. |  |
| Energy sources and stored-energy controls addressed. |  |
| Required verification has acceptable actual results. |  |
| Group, contractor and shift handoffs preserve protection. |  |

# Control verification — attach more rows for all required controls

| Control / exposure | Source, revision & criterion | Safe method / verifier | Actual result / time / status |
| --- | --- | --- | --- |

Use applicable regulatory, manufacturer, procedure, permit or engineering criteria. Only appropriately competent and authorized people perform checks; do not improvise tests or enter danger to verify protection.

Unresolved item / restriction: _________________________________________________

Action owner / due before exposure: __________________________________________

Correction / recheck result and time: __________________________________________

Stop contact: ____________________  Restart authority: ________________________

Next recheck trigger: ____________________  Crew rebrief completed: ______________

Disposition: [ ] HOLD affected work  [ ] Checks complete; required approval confirmed

Approval / permit reference or justified N/A: ____________________________________

Leader / date / time: ______________________________________________________

Unverified required protection means HOLD. Correct, recheck, obtain required site authorization and rebrief before exposure.

General-industry servicing. Construction needs its applicable rules and procedures. This sheet does not replace required permits, inspections or authorization.